INTRAOSSEOUS NEEDLE

STEP 1: LOCATE REAL EQUIPMENT Fetch intraosseous drill Identify location of following: Chlorhexidine Sterile gauze swabs Needles to draw up carbocain; Syringe with Luer-Lok Ringer’s acetate 1000 ml bag IV tubing set Pressure infusion bag 3-way valve. STEP 2: PRACTICE PROCEDURE 1-Identify the insertion site Proximal tibia or caput humeri. OBS: choose another limb if suspected fracture 2-Equipment Choose appropriate IO needle length Put on gloves (non-sterile) 3-Desinfect Desinfect the skin around the planed insertion site with chlorhexidine 4-Anaesthetize (unnecessary in critical situation) Local anaesthesia to the dermis and periosteum with carbocain 10 mg/ml (1%): max 5 ml. 5-Insert IO Needle 90°to the bony surface Drive needle through the cortex (let the drill do the work) Remove the trocar Place the stabilizing device around the needle Check needle placement through aspiration Inject carbocain slowly if time permits* Flush with 10 ml NaCl (use syringe with Luer-Lok) 6-Connect the bag Connect: Ringer bag + IV tubing set + 3-way-valve + connecting tubing to the IO needle Flush and connect to the IO needle Place the pressure infusion bag around the Ringer bag Mark the limb with date / hour STEP 3: FILL IN LOG STEP 4: RESTORE TRAINING EQUIPMENT

* If the patient is awake and not critical, carbocain can be injected slowly to anaesthetize the inside of the bone prior to flushing.  For an adult: 5 ml carbocain 10 mg/ml.  For a child:   0.5 mg/kg, which corresponds to 0.5 ml for each 10 kg body weight.  A 10 year-old child weighs 40 kg, corresponding to 2 ml carbocain 10 mg/ml.